Instruction for Frank:

1. In ConfigXML\_Test.xml file, need to change file location of the folder named ‘OriginalData’ in the field ‘FileDirectory’.
2. Data Reader: Comment line 49 and 56, and comment line 48 and 55
3. PMU data file name: For Pdat files: WISPDitt\_20151017\_123000.pdat

To concatenate file, data file corresponding to additional minute will be needed for example, WISPDitt\_20151017\_123100.pdat

1. Data file should be in folder: ..\Archive\_Walker\DataReaderCode\OriginalData\2015\151017
2. Main script file: BAWS\_main in folder ..\Archive\_Walker\DataReaderCode\ReadingData
3. Modify Data: Data can be modified between lines 293 and 296 in BAWS\_main.m file to check flags.
4. Main output (BAWS\_main file):
   1. PMU structure after reading pdat or csv file (line 288 for pdat file and line 291 for csv file
   2. PMU output structure in line 298 to check data quality check filters and new customized signals
   3. Line 300: PMU structure consisting of signals specified in configXML\_Test1 file (field: SignalSelection )
   4. Line 316: Concatenated PMU structure
   5. Line 321: PMU output from data processor
   6. Line 323: PMU structure containing only desired PMU and signals